## Slide 1: In the name of God
General Theory of electrical machines
  Machine modeling such as motors, generators, transformers
  Dynamic analysis of electrical machines including saturation
  Simulation , numerical analysis

## Slide 2: Chapter 1 BASIC PRINCIPLES FOR ELECTRICAL MACHINE ANALYSIS
MAGNETIC COUPLED CIRCUITS

## Slide 6: Nonlinear Magnetic System

## Slide 9: Chapter 2 Electromechnical Energy Conversion

## Slide 10
Energy stored on magnetic or electric field
Energy transfered to the coupled field
Enegry Losses
Total Enegry Transfered to the cuopling fields

## Slide 15: Energy in coupling field

## Slide 23: Electromagnetic and Electrostatic Forces

## Slide 28: Steady-state and Dynamic Performance of an Electromechanical System

## Slide 31: Machine Windings and Air Gap MMF

## Slide 38: Synchronous Machines

## Slide 42: Induction Machines

## Slide 44: Chapter 3 Direct Current Machines

## Slide 48: Voltage and Torque equations

## Slide 49: Seperate Winding excitation

## Slide 50: Shunt connected DC machine

## Slide 52: Series connected DC machine

## Slide 53: Compound-connected DC machine

## Slide 55: Shunt connected DC machine

## Slide 58: Permannet Magnet DC machine

## Slide 59: Reference-Frame Theory
Background
Stator winding of synchronous machine variable Park 1920s
Rotor variables - induction machine variable Stanley 1930s
Rotor & stator variables - induction machine variable Korn 1940s
Reference frame theory is basically mathematical

## Slide 62: Resistive Load
Inductive Load

## Slide 64
Capacitive Load

## Slide 67
Transformation between references

## Slide 70
Synchronous Reference

## Slide 73
Dynamic of RL series load
Zeroes initial condition

## Slide 76
Symmetrical induction machines

## Slide 79
Torque equation in machine variables

## Slide 81
Rotor Circuit Transformation

## Slide 82
Voltage equation in arbitraty refrences frame

## Slide 86
Ψ=λω

## Slide 90
Per Unit System

## Slide 91
Inertia Constant

## Slide 92
Phasor Analysis

## Slide 96
Per Unit

## Slide 97
Tmax

## Slide 116
Three phase fault at terminals

## Slide 119
Synchronous Generator

## Slide 124
Torque Equation

## Slide 140
Per Unit

## Slide 141
Analysis of Steady State

## Slide 143
Motor Action

## Slide 146
At no load operation

## Slide 148
Dynamic Performance

## Slide 166
Hydro

## Slide 167
Steam

## Slide 173
Induction machine