## Slide 1: Power electronics I
Introduction
DC-DC converter
Discontinues Operation of DC-DC converter
DC switch mode power supply
Resonance inverters
Harmonic analysis
Final Exam
Class activity
Paper Simulation

## Slide 2: Introduction

## Slide 25
K max

## Slide 42
Inverter Applications
Motor Drives
Power back-up systems
Others:
  Example HVDC Transmission systems

## Slide 43: Voltage Control of Single-Phase Inverters
Commonly-used Techniques
  Single-Pulse-Width-Modulation
  Multiple-Pulse-Width-Modulation
  Sinusoidal-Pulse-Width-Modulation
  Modified-Sinusoidal-Pulse-Width-Modulation
  Phase-Displacement Control

## Slide 44
Single Phase Inverter
Square-wave “Modulation” (1)
vout(t)
-Vdc
Vdc
t

## Slide 45
THD = 0.48
Characteristics: - High harmonic content.
- Low switching frequency.
- Difficult filtering.
- Little control flexibility.
Single Phase Inverter
Square-wave “Modulation” (2)

## Slide 46
Single Phase Inverter
Square-wave “Modulation” (3)
vout(t)
-Vdc
Vdc
t

## Slide 47
Characteristics: - High harmonic content.
- Low switching frequency.
- Difficult filtering.
- More control flexibility.
THD = 0.3
Example with Vout-1=1.21Vdc
Single Phase Inverter
Square-wave “Modulation” (4)

## Slide 48
Single Phase Inverter
Pulse Width Modulation (1)
D is the duty cycle of switch Q1. D is the portion of
the switching cycle during which Q1 will remain
closed.
In PWM D is made a function of time
D=D(t)

## Slide 49
Single Phase Inverter
Pulse Width Modulation (2)
Let’s
where
Modulation
function
Fundamental
Signal
Modulation
index

## Slide 50
Moving average
Single Phase Inverter
Pulse Width Modulation (3)
t

## Slide 51: Single-Pulse-Width-Modulation

## Slide 52
One Pulse per Half-Cycle Pulse Width Controls the Output Voltage

## Slide 53: Carrier and Reference Signals
Compare the Reference Signal with the Carrier
Frequency of the Reference Signal determines the frequency of the Output Voltage
Modulation Index = M = Ar/Ac
Gate Pulse
Gate Pulse

## Slide 54: rms value of the Output Voltage

## Slide 55: Fourier Series for the Output Voltage

## Slide 56: Times and angles of the intersections
Pulse width d (or pulse angle δ)
TS = T/2

## Slide 57: Harmonic Profile

## Slide 58: Multiple-Pulse-Width-Modulation

## Slide 59: Multiple Pulses per Half-Cycle of Output Voltage

## Slide 60: Gate Signal Generation
Compare the Reference Signal with the Carrier
Frequency of the Reference Signal determines the Output Voltage Frequency
Frequency of the Carrier determines the number of pulses per half-cycle
Modulation Index controls the Output Voltage

## Slide 61: Gate Signals and Output Voltage
Number of pulses per half cycle = p = fc/2fo = mf /2 where mf = frequency modulation ratio

## Slide 62: rms Value of the Output Voltage

## Slide 63: Fourier Series of the Output Voltage

## Slide 64: The times and angles of the intersections
The pulse width d (or pulse angle δ)
TS = T/2p

## Slide 65: Harmonic Profile